## Price Sheet
Section 6.00 Price Sheet-RFP 2020011 Installation and Maintenance of Potable Filtration Systems
This worksheet must be included in both the electronic proposal (original Excel format) and the hard copy proposal (the print area is already pre-set for this worksheet to Letter/Landscape). The hard copy MUST be signed, see below. DO NOT ALTER THIS WORKSHEET, ONLY INSERT THE UNIT PRICE IN THE HIGHLIGHTED CELLS BELOW - YELLOW FOR THE ORIGINAL CONTRACT TERM AND ORANGE FOR THE RENEWAL CONTRACT TERM.
*Signature of of Authorized Signatory: ____________________________________________________
*Printed/Typed Name of Authorized Signatory: ____________________________________________
*Title of Authorized Signatory: __________________________________________________________
*Respondent (Company) Name: ________________________________________________________
*Date: _________________________________________
Altering this worksheet in any way may result in the entire Proposal being deemed nonresponsive and rejected. |  |  |  | TOTAL Original Contract Term |  | TOTAL Renewal Contract Term |  | The Price / Rate Entered in Columns E (Original Term) and G (Renewal Term) shall not exceed the Amounts for Each Line Item.
|  |  |  | 0 |  | 0
Filter Type | Line Item No. | Unit Description | Estimated Quantity of Projected Units | Original Contract Term (3 years) | Total for Original Contract Term (Qty X Unit Price) | Renewal Contract Term (3 years) | Total for Renewal Contract Term (Qty X Unit Price)
|  |  |  | Unit Price |  | Unit Price
Maintenance - Labor | 1 | Maintenance Labor Hour Rate-Additional labor hours above (work to be done on time plus material cost basis, include labor cost only) | 500 | 0 | 0 | 0 | 0 | 125
| 2 | Travel Time Labor Rate, per Hour | 100 | 0 | 0 | 0 | 0 | 100
Freeze Protection | 3 | Furnish and Install Fiberglass Insulation House | 1 | 0 | 0 | 0 | 0 | 1020
| 4 | Furnish and Install Rubbermaid Freeze House (where directed) | 1 | 0 | 0 | 0 | 0 | 1020
Granular Activated Carbon (GAC) | 5 | Disconnect Type 1 GAC System, one (1) 10"d X 54"h Tank | 1 | 0 | 0 | 0 | 0 | 140
| 6 | Disconnect Type 11 GAC System, four (4) 10"d X 54"h Tanks | 1 | 0 | 0 | 0 | 0 | 210
| 7 | Disconnect Type 13 GAC System, six (6) 12"d X 52"h Tanks | 1 | 0 | 0 | 0 | 0 | 210
| 8 | Disconnect Type 14 GAC System, eight (8) 12"d X 52"h Tanks | 1 | 0 | 0 | 0 | 0 | 210
| 9 | Disconnect Type 2 or Type 6 GAC System, two (2) 10"d X 54"h Tanks | 1 | 0 | 0 | 0 | 0 | 155
| 10 | Disconnect Type 3 GAC System, one (1) 12"d X 52"h Tank | 1 | 0 | 0 | 0 | 0 | 140
| 11 | Disconnect Type 4 or Type 7 GAC System, two (2) 12"d X 52"h Tanks | 1 | 0 | 0 | 0 | 0 | 185
| 12 | Disconnect Type 8 GAC System, three (3) 12"d X 52"h Tanks | 1 | 0 | 0 | 0 | 0 | 195
| 13 | Disconnect Type 9 or Type 12 GAC System, four (4) 12"d X 52"h Tanks | 1 | 0 | 0 | 0 | 0 | 210
| 14 | Exchange Type 1 GAC System, 10"d X 54"h Tanks (Excludes UVL Bulbs) | 57 | 0 | 0 | 0 | 0 | 710
| 15 | Exchange Type 11 GAC System, four (4) 10"d X 54"h (Excludes UVL Bulbs) | 1 | 0 | 0 | 0 | 0 | 1110
| 16 | Exchange Type 13 GAC System, six (6) 12"d X 52"h (Excludes UVL Bulbs) | 3 | 0 | 0 | 0 | 0 | 1500
| 17 | Exchange Type 14 GAC System, eight (8) 12"d X 52"h (Excludes UVL Bulbs) | 1 | 0 | 0 | 0 | 0 | 1750
| 18 | Exchange Type 15 GAC System, one 48"Dx72"H Tank | 1 | 0 | 0 | 0 | 0 | 10000
| 19 | Exchange Type 2 or Type 6 GAC System, two (2) 10"d X 54"h Tanks (Excludes UVL Bulbs) | 149 | 0 | 0 | 0 | 0 | 900
| 20 | Exchange Type 3 GAC System, one (1) 12"d X 52"h Tank (Excludes UVL Bulb) | 10 | 0 | 0 | 0 | 0 | 800
| 21 | Exchange Type 4 or Type 7 GAC System, two (2) 12"d X 52"h Tanks (Excludes UVL Bulbs) | 27 | 0 | 0 | 0 | 0 | 920
| 22 | Exchange Type 8 GAC System, three (3)12"d X 52"h (Excludes UVL Bulbs) | 1 | 0 | 0 | 0 | 0 | 1060
| 23 | Exchange Type 9 or Type 12 GAC System, four (4) 12"d X 52"h Tanks (Excludes UVL Bulbs) | 1 | 0 | 0 | 0 | 0 | 1610
| 24 | Install Type 1 GAC System, one (1) 10"d X 54"h Tank, excluding UVL Disinfection System | 2 | 0 | 0 | 0 | 0 | 1010
| 25 | Install Type 11 GAC System, four (4) 10"d X 54"h Tanks, excluding UVL Disinfection System(s) | 1 | 0 | 0 | 0 | 0 | 2065
| 26 | Install Type 13 GAC System, six (6) 12"d X 52"h Tanks, excluding UVL Disinfection System(s) | 1 | 0 | 0 | 0 | 0 | 3080
| 27 | Install Type 14 GAC System, eight (8) 12"d X 52"h Tanks, excluding UVL Disinfection System(s) | 1 | 0 | 0 | 0 | 0 | 3955
| 28 | Install Type 15 GAC System, one (1) 48"d X 72"h Tank, excluding UVL Disinfection System | 1 | 0 | 0 | 0 | 0 | 13000
| 29 | Install Type 2 Or Type 6 GAC System, two (2) 10"d X 54"h Tanks, excluding UVL Disinfection System(s) | 10 | 0 | 0 | 0 | 0 | 1400
| 30 | Install Type 3 GAC System, one (1) 12"d X 52"h Tank, excluding UVL Disinfection System | 1 | 0 | 0 | 0 | 0 | 1105
| 31 | Install Type 4 Or Type 7 GAC System, two (2) 12"d X 52"h Tanks, excluding UVL Disinfection System(s) | 1 | 0 | 0 | 0 | 0 | 1520
| 32 | Install Type 8 - three (3) GAC 12' d X 52" h Tanks, excluding UVL Disinfection System(s) | 1 | 0 | 0 | 0 | 0 | 2040
| 33 | Install Type 9 Or Type 12 GAC System, four (4) 12"d X 52"h Tanks, excluding UVL Disinfection System(s) | 1 | 0 | 0 | 0 | 0 | 2465
| 34 | Re-Install Type 1 GAC System, one (1) 10"d X 54"h Tank, excluding UVL Disinfection System | 1 | 0 | 0 | 0 | 0 | 910
| 35 | Re-Install Type 11 GAC System, four (4) 10"d X 54"h Tanks, excluding UVL Disinfection System(s) | 1 | 0 | 0 | 0 | 0 | 1600
| 36 | Re-Install Type 13 GAC System, six (6) 12"d X 52"h Tanks, excluding UVL Disinfection System(S) | 1 | 0 | 0 | 0 | 0 | 2500
| 37 | Re-Install Type 14 GAC System, eight (8) 12"d X 52"h Tanks, excluding UVL Disinfection System(S) | 1 | 0 | 0 | 0 | 0 | 3000
| 38 | Re-Install Type 15 GAC System, one 48"Dx72"H Tank | 1 | 0 | 0 | 0 | 0 | 9500
| 39 | Re-Install Type 2 Or Type 6 GAC System, two (2) 10"d X 54"h Tanks, excluding UVL Disinfection System(s) | 6 | 0 | 0 | 0 | 0 | 1200
| 40 | Re-Install Type 3 GAC System, one (1) 12"d X 52"h Tank, excluding UVL Disinfection System | 1 | 0 | 0 | 0 | 0 | 1015
| 41 | Re-Install Type 4 or Type 7 GAC System, two (2) 12"d X 52"h Tanks, excluding UVL Disinfection System(s) | 4 | 0 | 0 | 0 | 0 | 1500
| 42 | Re-Install Type 8 GAC System, three 12'Dx52"H Tanks | 1 | 0 | 0 | 0 | 0 | 1800
| 43 | Re-Install Type 9 or Type 12 GAC System, four (4) 12"d X 52"h Tanks, excluding UVL Disinfection System(s) | 1 | 0 | 0 | 0 | 0 | 2000
| 44 | Remove Type 1 GAC System, one (1) 10"d X 54"h Tank (include removal of UV system and Department-owned equipment on-site) | 3 | 0 | 0 | 0 | 0 | 180
| 45 | Remove Type 11 GAC System, four (4) 10"d X 54"h Tanks (include removal of UV system and Department-owned equipment on-site) | 1 | 0 | 0 | 0 | 0 | 425
| 46 | Remove Type 13 GAC System, six (6) 12"d X 52"h Tanks (include removal of UV system and Department-owned equipment on-site) | 1 | 0 | 0 | 0 | 0 | 525
| 47 | Remove Type 14 GAC System, eight (8) 12"d X 52"h Tanks (include removal of UV system and Department-owned equipment on-site) | 1 | 0 | 0 | 0 | 0 | 620
| 48 | Remove Type 15 GAC System, one 48"Dx72"H Tank | 1 | 0 | 0 | 0 | 0 | 3000
| 49 | Remove Type 2 Or Type 6 GAC System, two (2) 10"d X 54"h Tanks (include removal of UV system and Department-owned equipment on-site) | 1 | 0 | 0 | 0 | 0 | 245
| 50 | Remove Type 3 GAC System, one (1) 12"d X 52"h Tank (include removal of UV system and Department-owned equipment on-site) | 1 | 0 | 0 | 0 | 0 | 185
| 51 | Remove Type 4 Or Type 7 GAC System, two (2) 12"d X 52"h Tanks (include removal of UV system and Department-owned equipment on-site) | 1 | 0 | 0 | 0 | 0 | 280
| 52 | Remove Type 8 GAC System, three (3) 12"d X 52"h Tank (include removal of UV system and Department-owned equipment on-site) | 1 | 0 | 0 | 0 | 0 | 335
| 53 | Remove Type 9 Or Type 12 GAC System, four (4) 12"d X 52"h Tanks (include removal of UV system and Department-owned equipment on-site) | 1 | 0 | 0 | 0 | 0 | 425
| 54 | Type 1 to Type 2/6 Upgrade (add additional 10" Tank to existing System) | 2 | 0 | 0 | 0 | 0 | 650
| 55 | Type 1 to Type 3 Upgrade (replace existing 10" Tank with 12" Tank) | 1 | 0 | 0 | 0 | 0 | 450
| 56 | Type 2 to Type 4 Upgrade (replace existing two (2) 10" with 12" Tanks) | 1 | 0 | 0 | 0 | 0 | 500
| 57 | Type 3 to Type 4/7 Upgrade (add additional 12" Tank to existing System) | 1 | 0 | 0 | 0 | 0 | 650
ION Exchange Systems (IX) | 58 | Exchange Type 1, IX Resin as described in work specifications | 2 | 0 | 0 | 0 | 0 | 1600
| 59 | Exchange Type 2, IX Resin as described in work specifications | 1 | 0 | 0 | 0 | 0 | 2085
| 60 | Exchange Type 3, IX Resin as described in work specifications | 2 | 0 | 0 | 0 | 0 | 3200
| 61 | Install Type 1, IX System 12"d X 52"h Tank, Regenerative Head, Brine Tank and 600 pounds Salt | 3 | 0 | 0 | 0 | 0 | 2525
| 62 | Install Type 2, IX System 16"d X 64" (or 65")h Tank, Regenerative Head, Brine Tank and 600 pounds Salt | 1 | 0 | 0 | 0 | 0 | 3900
| 63 | Install Type 3, IX System 22"d X 60"h Tank, Regenerative Head, Brine Tank and 600 pounds Salt | 1 | 0 | 0 | 0 | 0 | 6150
| 64 | Remove IX or KDF Filter System | 1 | 0 | 0 | 0 | 0 | 200
IX Maintenance | 65 | Clack 1 1/2" Metered Head | 2 | 0 | 0 | 0 | 0 | 1050
| 66 | Clack 1" Metered Head | 1 | 0 | 0 | 0 | 0 | 310
| 67 | Clack 1.25" Metered Head | 1 | 0 | 0 | 0 | 0 | 360
| 68 | Clack Head Drive Motor | 1 | 0 | 0 | 0 | 0 | 20
| 69 | Clack PC Board (Replacement) | 32 | 0 | 0 | 0 | 0 | 100
| 70 | Disconnect Type 1 Ion Exchange System, one (1) 12"d X 52" h Tank | 1 | 0 | 0 | 0 | 0 | 225
| 71 | Disconnect Type 2 Ion Exchange System, one (1) 12"d X52"h Tank | 1 | 0 | 0 | 0 | 0 | 225
| 72 | Disconnect Type 3 Ion Exchange System, one (1) 12"d X52"h Tank | 1 | 0 | 0 | 0 | 0 | 240
| 73 | Drain Line Calcium Remover/Cleaner Using 24-Ounce CLR | 15 | 0 | 0 | 0 | 0 | 41
| 74 | Fleck 2750 or Metered Ion Exchange 1" Head | 1 | 0 | 0 | 0 | 0 | 575
| 75 | Fleck 2750 Metered Ion Exchange 1.25 Head | 1 | 0 | 0 | 0 | 0 | 700
| 76 | Fleck 2850, 1.5 Automatic Regenerative Metered Head | 1 | 0 | 0 | 0 | 0 | 1240
| 77 | IX Resin Cleaning/Treatment Using one (1) Quart of Res-Up | 9 | 0 | 0 | 0 | 0 | 36
| 78 | New 24"d X 41"h Replacement Brine Tank | 1 | 0 | 0 | 0 | 0 | 160
| 79 | New 24"d X 50"h Replacement Brine Tank | 1 | 0 | 0 | 0 | 0 | 170
| 80 | Purolite A-520 Nitrate Select Resin per Cubic Foot | 1 | 0 | 0 | 0 | 0 | 360
| 81 | Salt for Regeneration (per pound) | 23700 | 0 | 0 | 0 | 0 | 1
Maintenance Part | 82 | 1 1/2" 45-degree Elbow, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 7
| 83 | 1 1/2" 90-degree Elbow, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 4
| 84 | 1 1/2" Badger Water Meter | 1 | 0 | 0 | 0 | 0 | 480
| 85 | 1 1/2" Ball Valve, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 60
| 86 | 1 1/2" Schedule 80 PVC Pipe, per foot | 40 | 0 | 0 | 0 | 0 | 1.5
| 87 | 1 1/2" Tee, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 12
| 88 | 1 1/2" to 2" Schedule 80 PVC Reducer | 1 | 0 | 0 | 0 | 0 | 5
| 89 | 1 1/2" Union, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 10
| 90 | 1" 45-degree Elbow, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 3
| 91 | 1" 90-degree Elbow, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 3
| 92 | 1" Ball Valve, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 32
| 93 | 1" Check Valve | 1 | 0 | 0 | 0 | 0 | 12
| 94 | 1" Schedule 40 PVC Pipe (per foot) | 1 | 0 | 0 | 0 | 0 | 1
| 95 | 1" Schedule 80 PVC Insert Fitting | 1 | 0 | 0 | 0 | 0 | 2
| 96 | 1" Schedule 80 PVC Pipe (per foot) | 1 | 0 | 0 | 0 | 0 | 1
| 97 | 1" Tee, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 3
| 98 | 1" to 1.5" Schedule 80 PVC Reducer | 1 | 0 | 0 | 0 | 0 | 3
| 99 | 1" Union, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 4.5
| 100 | 1” Hose Clamp | 32 | 0 | 0 | 0 | 0 | 1
| 101 | 1” Kentak Hose (per foot) | 1 | 0 | 0 | 0 | 0 | 2
| 102 | 110/220 Switch | 1 | 0 | 0 | 0 | 0 | 13
| 103 | 110-Volt 15 Amp GFI Receptacle | 22 | 0 | 0 | 0 | 0 | 20
| 104 | 110-Volt 15 Amp On/Off Switch | 1 | 0 | 0 | 0 | 0 | 4
| 105 | 110-Volt 15 Amp Plug Receptacle | 1 | 0 | 0 | 0 | 0 | 4
| 106 | 2' Check Valve | 1 | 0 | 0 | 0 | 0 | 20
| 107 | 2" 45-degree Elbow, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 11
| 108 | 2" 90-degree Elbow, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 5
| 109 | 2" Ball Valve, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 60
| 110 | 2" Schedule 80 PVC Pipe (per foot) | 1 | 0 | 0 | 0 | 0 | 2
| 111 | 2" Tee, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 15
| 112 | 2" to 3" Schedule 80 PVC Reducer | 1 | 0 | 0 | 0 | 0 | 13
| 113 | 2" Union, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 13
| 114 | 2" X 4" X 20" Pressure Treated Board | 6 | 0 | 0 | 0 | 0 | 13
| 115 | 20-Micron 2 1/2" X 10" Pre-Filters (Pleated Paper Filters) | 50 | 0 | 0 | 0 | 0 | 4
| 116 | 220-Volt 20 Amp On/Off Switch | 1 | 0 | 0 | 0 | 0 | 10
| 117 | 3" 45-degree Elbow, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 23
| 118 | 3" 90-degree Elbow, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 12
| 119 | 3" Ball Valve, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 150
| 120 | 3" Check Valve | 1 | 0 | 0 | 0 | 0 | 60
| 121 | 3" Schedule 80 PVC Pipe (per foot) | 1 | 0 | 0 | 0 | 0 | 3
| 122 | 3" Tee, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 20
| 123 | 3" Union, Schedule 80 | 1 | 0 | 0 | 0 | 0 | 29
| 124 | 3/4" Badger Water Meter | 19 | 0 | 0 | 0 | 0 | 60
| 125 | 3/4" Check Valve | 3 | 0 | 0 | 0 | 0 | 7
| 126 | 3/4” 90-Degree Insert Fitting | 20 | 0 | 0 | 0 | 0 | 3
| 127 | 3/4” Ball Valve, Schedule 80 | 4 | 0 | 0 | 0 | 0 | 25
| 128 | 3/4” Brass Meter Coupling | 1 | 0 | 0 | 0 | 0 | 8
| 129 | 3/4” Galvanized Tee | 7 | 0 | 0 | 0 | 0 | 5
| 130 | 3/4” Hose Bibbs | 8 | 0 | 0 | 0 | 0 | 5.5
| 131 | 3/4” Kentak Hose (per foot) | 63 | 0 | 0 | 0 | 0 | 2
| 132 | 3/4” Pressure Treated Plywood Floor for Freeze House, 2' X 4' | 1 | 0 | 0 | 0 | 0 | 13
| 133 | 3/4” Schedule 40 PVC Pipe (per foot) | 1 | 0 | 0 | 0 | 0 | 1
| 134 | 3/4” Schedule 80 PVC Insert Fitting | 1 | 0 | 0 | 0 | 0 | 13
| 135 | 3/4” Schedule 80 PVC Pipe (per foot) | 4 | 0 | 0 | 0 | 0 | 1
| 136 | 3/4” Straight Insert Fitting | 4 | 0 | 0 | 0 | 0 | 2
| 137 | 3/4” Threaded Tee | 1 | 0 | 0 | 0 | 0 | 5
| 138 | 3/4” to 1" Schedule 80 PVC Reducer | 2 | 0 | 0 | 0 | 0 | 1.5
| 139 | 3/4” Union, Schedule 80 | 286 | 0 | 0 | 0 | 0 | 2
| 140 | 3/4” Unions Quick Connect | 2 | 0 | 0 | 0 | 0 | 3
| 141 | 3/4” X 2" Nipple | 267 | 0 | 0 | 0 | 0 | 3
| 142 | 3/8” X 5" Carriage Bolt, Nut and Washer | 8 | 0 | 0 | 0 | 0 | 2
| 143 | 4" X 4" Pressure Treated Posts | 5 | 0 | 0 | 0 | 0 | 11
| 144 | 80-Gallon Equivalent Bladder Pressure Tanks, Required to Isolate Filter Systems from Pressure System to Prevent Pump Damage. | 1 | 0 | 0 | 0 | 0 | 310
| 145 | A 120-volt, 155 PSI max pressure air compressor, Kobalt model #VT3689 or equivalent | 1 | 0 | 0 | 0 | 0 | 315
| 146 | Badger 120L or Equivalent Water Meter | 1 | 0 | 0 | 0 | 0 | 450
| 147 | Brass Supply Valve | 1 | 0 | 0 | 0 | 0 | 5
| 148 | Chain or Strap to Prevent Tank Overturn (per foot) | 1 | 0 | 0 | 0 | 0 | 1
| 149 | Disconnect Type 15 GAC System, one (1) 48"D x 72"H Tank | 1 | 0 | 0 | 0 | 0 | 210
| 150 | Distributor Tubes with Basket | 21 | 0 | 0 | 0 | 0 | 7
| 151 | Electrical Conduit (per foot) | 5 | 0 | 0 | 0 | 0 | 1
| 152 | Filter Wrenches | 19 | 0 | 0 | 0 | 0 | 2
| 153 | Five (5) Micron 2 1/2" X 10" Pre-Filters (Pleated Paper Filters) | 3200 | 0 | 0 | 0 | 0 | 4
| 154 | Four Gang Weather Proof Cover | 1 | 0 | 0 | 0 | 0 | 18
| 155 | Four Gang Weatherproof Boxes with Cover | 1 | 0 | 0 | 0 | 0 | 30
| 156 | Fourteen (14) - 2 Wire (Per Foot) | 17 | 0 | 0 | 0 | 0 | 0.45
| 157 | GAC Tank Head, Schedule 8032 | 128 | 0 | 0 | 0 | 0 | 36
| 158 | New 10"d X 54"h Replacement Fiberglass Tank | 1 | 0 | 0 | 0 | 0 | 90
| 159 | New 10"d X 54"h Replacement Tank, Empty | 1 | 0 | 0 | 0 | 0 | 90
| 160 | New 12"d X 52"h Replacement Tank, Empty | 1 | 0 | 0 | 0 | 0 | 123
| 161 | New 12"d X 54"h Replacement Fiberglass Tank | 1 | 0 | 0 | 0 | 0 | 123
| 162 | New 14"d X 65"h Replacement Fiberglass Tank | 1 | 0 | 0 | 0 | 0 | 280
| 163 | New 16"d X 65"h Replacement Fiberglass Tank | 1 | 0 | 0 | 0 | 0 | 300
| 164 | New 21"d X 62"h Replacement Fiberglass Tank | 1 | 0 | 0 | 0 | 0 | 633
| 165 | New 22"d X 60"h Replacement Fiberglass Tank | 1 | 0 | 0 | 0 | 0 | 683
| 166 | New 24"d X 72"h Replacement Fiberglass Tank | 1 | 0 | 0 | 0 | 0 | 810
| 167 | New 36"d X 72"h Replacement Fiberglass Tank | 1 | 0 | 0 | 0 | 0 | 1500
| 168 | Pre-Filter Bracket | 6 | 0 | 0 | 0 | 0 | 3
| 169 | Pre-Filter Housing O-Ring | 6 | 0 | 0 | 0 | 0 | 2
| 170 | Two Gang Weather Proof Cover | 3 | 0 | 0 | 0 | 0 | 15
| 171 | Two Gang Weatherproof Boxes with Cover | 2 | 0 | 0 | 0 | 0 | 22
| 172 | Well Pump Pressure Control Switch | 1 | 0 | 0 | 0 | 0 | 28
Point of Entry Systems (POE) | 173 | Exchange Type 1 POE - 0.50cf KDF 85 Media, one (1) 9"d X 48"h Tank | 1 | 0 | 0 | 0 | 0 | 1900
| 174 | Exchange Type 2 POE - 1.04cf KDF 85 Media, one (1) 12"d X 48"h Tank | 1 | 0 | 0 | 0 | 0 | 2700
| 175 | Exchange Type A10, AD33 Adedge Metsorb 2 Tank System 24 X 72, 11.5cf each Tank | 1 | 0 | 0 | 0 | 0 | 10000
| 176 | Exchange Type A11, AD33 Adedge Metsorb 2 Tank System 36 X 72, 21cf each Tank | 1 | 0 | 0 | 0 | 0 | 20000
| 177 | Exchange Type A2, AD33 Adedge Metsorb 2 Tank System 9 X 48, 1cf each Tank | 1 | 0 | 0 | 0 | 0 | 1700
| 178 | Exchange Type A3, AD33 Adedge Metsorb 2 Tank System 10 X 54, 1.5cf each Tank | 1 | 0 | 0 | 0 | 0 | 2000
| 179 | Exchange Type A4, AD33 Adedge Metsorb 2 Tank System 12 X 52, 2cf each Tank | 30 | 0 | 0 | 0 | 0 | 2800
| 180 | Exchange Type A5, AD33 Adedge Metsorb 2 Tank System 14 X 65, 3.5cf each Tank | 12 | 0 | 0 | 0 | 0 | 4000
| 181 | Exchange Type A6, AD33 Adedge Metsorb 2 Tank System 16 X 65, 4.5cf each Tank | 1 | 0 | 0 | 0 | 0 | 5000
| 182 | Exchange Type A8, AD33 Adedge Metsorb 2 Tank System 21 X 62, 7.5cf each Tank | 5 | 0 | 0 | 0 | 0 | 7650
| 183 | Install Drain Field for Regenerative Backwash Water | 10 | 0 | 0 | 0 | 0 | 520
| 184 | Install Type 1 Green Sand Filter, 1CF Media, one 9"d X 48"h Tank, one (1) Clack WS1 Regenerating Head, 3-Gallon Feed Tank filled with Permanganate Solution. | 1 | 0 | 0 | 0 | 0 | 1500
| 185 | Install Type 1 POE - 0.50cf KDF 85 Media, One (1) 9"d X 48"h Tank | 1 | 0 | 0 | 0 | 0 | 2000
| 186 | Install Type 2 Green Sand Filter, 1.5cf Media, one 10"d X 54"h Tank, one (1) Clack WS1 Regenerating Head, 3-Gallon Feed Tank filled with Permanganate Solution. | 1 | 0 | 0 | 0 | 0 | 1600
| 187 | Install Type 2 POE - 1.04cf KDF 85 Media, One (1) 12"d X 48"h Tank | 1 | 0 | 0 | 0 | 0 | 2800
| 188 | Install Type A10, AD33 Adedge 2 Tank System 24 X 72, 9.5cf each Tank | 1 | 0 | 0 | 0 | 0 | 15000
| 189 | Install Type A11, AD33 Adedge 2 Tank System 36 X 72, 21cf each Tank | 1 | 0 | 0 | 0 | 0 | 26000
| 190 | Install Type A2, AD33 Adedge 2 Tank System 9 X 48, 1cf each Tank | 1 | 0 | 0 | 0 | 0 | 2900
| 191 | Install Type A3, AD33 Adedge 2 Tank System 10 X 54, 1.4cf each Tank | 1 | 0 | 0 | 0 | 0 | 3600
| 192 | Install Type A4, AD33 Adedge 2 Tank System 12 X 52, 2cf each Tank | 6 | 0 | 0 | 0 | 0 | 4000
| 193 | Install Type A5, AD33 Adedge 2 Tank System 14 X 65, 3cf each Tank | 1 | 0 | 0 | 0 | 0 | 5000
| 194 | Install Type A6, AD33 Adedge 2 Tank System 16 X 65, 4cf each Tank | 1 | 0 | 0 | 0 | 0 | 7000
| 195 | Install Type A8, AD33 Adedge 2 Tank System 21 X 62, 6.6cf each Tank | 1 | 0 | 0 | 0 | 0 | 10000
| 196 | Remove Type A10, AD33 Adedge 2 Tank System 24 X 72, 11.5cf each Tank | 1 | 0 | 0 | 0 | 0 | 800
| 197 | Remove Type A11, AD33 Adedge 2 Tank System 36 X 72, 11.5cf each Tank | 1 | 0 | 0 | 0 | 0 | 1000
| 198 | Remove Type A2, AD33 Adedge 2 Tank System 9 X 48, 1cf each Tank | 1 | 0 | 0 | 0 | 0 | 275
| 199 | Remove Type A3, AD33 Adedge 2 Tank System 10 X 54, 1cf each Tank | 1 | 0 | 0 | 0 | 0 | 275
| 200 | Remove Type A4, AD33 Adedge 2 Tank System 12 X 52, 1cf each Tank | 1 | 0 | 0 | 0 | 0 | 300
| 201 | Remove Type A5, AD33 Adedge 2 Tank System 14 X 65, 3cf each Tank | 1 | 0 | 0 | 0 | 0 | 300
| 202 | Remove Type A6, AD33 Adedge 2 Tank System 16 X 65, 4.5cf each Tank | 1 | 0 | 0 | 0 | 0 | 600
| 203 | Remove Type A8, AD33 Adedge 2 Tank System 21 X 62, 7.5cf each Tank | 2 | 0 | 0 | 0 | 0 | 750
POE Maintenance | 204 | 3/4" O-Ring, WS1 Head | 1 | 0 | 0 | 0 | 0 | 4
| 205 | Bayoxide E33 AdEdge Media per Cubic Foot | 10 | 0 | 0 | 0 | 0 | 450
| 206 | Distributor Tube, WS1 Head | 145 | 0 | 0 | 0 | 0 | 20
| 207 | KDF 85 Media per Cubic Foot | 1 | 0 | 0 | 0 | 0 | 1800
| 208 | Permanganate Refill (per pound) | 1 | 0 | 0 | 0 | 0 | 23
| 209 | Replacement Transformer, WS1 Head | 23 | 0 | 0 | 0 | 0 | 25
| 210 | Stack Assembly, WS1 Head | 8 | 0 | 0 | 0 | 0 | 35
| 211 | Upper Basket, WS1 Head | 27 | 0 | 0 | 0 | 0 | 4
| 212 | Watts WS1 Head Bypass Valve | 1 | 0 | 0 | 0 | 0 | 30
| 213 | Watts WS1 Head Cover | 1 | 0 | 0 | 0 | 0 | 20
| 214 | Watts WS1 Head Tail Piece | 1 | 0 | 0 | 0 | 0 | 15
Point of Use (POU) | 215 | Big Blue Cartridge Housing 10"x4 1/2" | 1 | 0 | 0 | 0 | 0 | 35
| 216 | Exchange Big Blue, 4 1/2" Adedge Cartridge. Include Pre-rinsing media at shop (may be more cost-effective to swap-out complete Housing and cartridge). | 737 | 0 | 0 | 0 | 0 | 195
| 217 | Install NEW Big Blue Filter Housing and Metsorb Cartridge | 2 | 0 | 0 | 0 | 0 | 175
| 218 | Install USED Big Blue Filter Housing and New Metsorb Cartridge | 28 | 0 | 0 | 0 | 0 | 165
| 219 | Metsorb Media Cartridge 10" X 4 1/2" | 5 | 0 | 0 | 0 | 0 | 10
Reverse Osmosis Filter Systems (RO) | 220 | Countertop RO Exchange | 1 | 0 | 0 | 0 | 0 | 460
| 221 | Countertop RO Installation | 1 | 0 | 0 | 0 | 0 | 750
| 222 | Exchange 2 1/2" Carbon Cartridge | 1 | 0 | 0 | 0 | 0 | 25
| 223 | Exchange RO System as described in work specifications (including membrane, 5 & 20 Micron cartridges, GAC cartridge, check TDS levels, replace batteries (if needed), clean airgap, inspect pump, check leaks, replace leak detector inserts if needed, instruct new owners or residents on operation.) | 705 | 0 | 0 | 0 | 0 | 510
| 224 | Install Ametek No. 10 or Equivalent Filter Housing with 2 1/2" Carbon Cartridge | 1 | 0 | 0 | 0 | 0 | 25
| 225 | Install WATTS Model WP4-50-FL or Equivalent Reverse Osmosis Filter Unit, Complete Unit | 40 | 0 | 0 | 0 | 0 | 750
| 226 | Re-Install WATTS Model WP4-50-FL or Equivalent Reverse Osmosis Filter Unit, Complete Unit | 7 | 0 | 0 | 0 | 0 | 550
| 227 | Remove Nimbus LP, or Equivalent Unit, Complete Unit with Faucet (include labor/material for plugging faucet-hole on sink) | 22 | 0 | 0 | 0 | 0 | 150
| 228 | Replace Obsolete/Damaged RO Unit with new WATTS Model WP4-50-FL or Equivalent Unit | 88 | 0 | 0 | 0 | 0 | 600
RO Maintenance | 229 | 1/4" John Gest Tee Fitting | 2 | 0 | 0 | 0 | 0 | 4
| 230 | 1/4" NSF Approved Tubing (per foot) | 87 | 0 | 0 | 0 | 0 | 1
| 231 | 1/4" Stem Adapter Fitting | 1 | 0 | 0 | 0 | 0 | 4
| 232 | 1/4" Supply Valve | 3 | 0 | 0 | 0 | 0 | 7
| 233 | 1/4" X 1/4" John Gest 90-Degree Fitting | 6 | 0 | 0 | 0 | 0 | 2
| 234 | 1/4" X 1/4" John Gest Straight Fitting | 6 | 0 | 0 | 0 | 0 | 3
| 235 | 1/4" X 1/4" Plug-In Elbow Fitting | 2 | 0 | 0 | 0 | 0 | 4
| 236 | 18" X 18" X 2" Water Tight Pan | 6 | 0 | 0 | 0 | 0 | 11
| 237 | 2" Membrane Clip | 1 | 0 | 0 | 0 | 0 | 0.2
| 238 | 3/4" X 1/4" Bushing Adapter | 1 | 0 | 0 | 0 | 0 | 2
| 239 | 3/8" John Gest Tee Fitting | 1 | 0 | 0 | 0 | 0 | 4
| 240 | 3/8" NSF Approved Tubing per foot | 25 | 0 | 0 | 0 | 0 | 1
| 241 | 3/8" Stem Adapter Fitting | 1 | 0 | 0 | 0 | 0 | 3
| 242 | 3/8" X 1/4" John Gest 90-Degree Fitting | 1 | 0 | 0 | 0 | 0 | 4
| 243 | 3/8" X 3/8" John Gest Straight Fitting | 1 | 0 | 0 | 0 | 0 | 4
| 244 | 3/8"x1/4" John Gest Reducer Fitting | 3 | 0 | 0 | 0 | 0 | 4
| 245 | 5-Micron 4 1/2" X 10" Pleated Paper Cartridge Filter | 3176 | 0 | 0 | 0 | 0 | 10
| 246 | 9-Volt Battery or 4-AA Battery Pack | 405 | 0 | 0 | 0 | 0 | 4
| 247 | Air-Gap Faucet with Long Reach Spout | 82 | 0 | 0 | 0 | 0 | 60
| 248 | AMETEK No. 10 or Equivalent Filter Housing | 15 | 0 | 0 | 0 | 0 | 15
| 249 | AMETEK No. 20 or Equivalent Filter Housing | 1 | 0 | 0 | 0 | 0 | 25
| 250 | Auto Shut Off Clip | 7 | 0 | 0 | 0 | 0 | 0.5
| 251 | Drain Adapter | 3 | 0 | 0 | 0 | 0 | 8
| 252 | Duel Carbon Cartridge Clip | 1 | 0 | 0 | 0 | 0 | 1
| 253 | End Outlet Waste Fitting | 1 | 0 | 0 | 0 | 0 | 7
| 254 | Flowlok, Model FLK-14 Leak Detector | 718 | 0 | 0 | 0 | 0 | 60
| 255 | Flowlok, Model FLK-PAD Insert Cartridge | 359 | 0 | 0 | 0 | 0 | 15
| 256 | Flowmatic FH5000BL or Equivalent Pre-Filter Housing | 1 | 0 | 0 | 0 | 0 | 30
| 257 | Gooseneck Reach Spout | 1 | 0 | 0 | 0 | 0 | 5
| 258 | Plumber's Pan for 2' X 2' Area | 1 | 0 | 0 | 0 | 0 | 12
| 259 | RO Auto Shut-off Valves | 1 | 0 | 0 | 0 | 0 | 10
| 260 | RO Flow Restrictor | 12 | 0 | 0 | 0 | 0 | 2
| 261 | RO Membrane Housing | 1 | 0 | 0 | 0 | 0 | 6
| 262 | RO O-Ring Kit | 1 | 0 | 0 | 0 | 0 | 5
| 263 | RO Storage Tank Shutoff Valve | 1 | 0 | 0 | 0 | 0 | 10
| 264 | New 3.2-Gallon Storage Tank | 207 | 0 | 0 | 0 | 0 | 50
| 265 | Used 3.2-Gallon Storage Tank (tested) | 116 | 0 | 0 | 0 | 0 | 35
Ultra Violet (UV) Light Systems | 266 | Install New or Refurbished UV Light Disinfection System | 14 | 0 | 0 | 0 | 0 | 750
| 267 | UV Light Bulb Replacement and Quartz Sleeve Cleaning | 268 | 0 | 0 | 0 | 0 | 70
UV Maintenance | 268 | Electrical Inspection on UVL System | 1 | 0 | 0 | 0 | 0 | 185
| 269 | UV Light Ballast 5M 140-S-TP | 7 | 0 | 0 | 0 | 0 | 42
| 270 | UV Light Lamp Housing | 1 | 0 | 0 | 0 | 0 | 300
| 271 | UV Light Quartz Sleeve | 31 | 0 | 0 | 0 | 0 | 40
| 272 | UV Light Rain Shield, Stainless Steel | 1 | 0 | 0 | 0 | 0 | 30
| 273 | UV Light Safety Switch | 1 | 0 | 0 | 0 | 0 | 2
| 274 | UV Light Socket | 2 | 0 | 0 | 0 | 0 | 20
| 275 | UV Light Transformer SD-26, 125-Watt, 1.08-Amp, 220/110-Volt | 22 | 0 | 0 | 0 | 0 | 60
| 276 | UV Light View Port Kit | 1 | 0 | 0 | 0 | 0 | 15
| 277 | UV Lightening Arrestor | 7 | 0 | 0 | 0 | 0 | 45
| 278 | UV On/Off Toggle Switch | 1 | 0 | 0 | 0 | 0 | 2
| 279 | UV Quartz Sleeve Nut | 6 | 0 | 0 | 0 | 0 | 20
| 280 | UV Quartz Sleeve Washer | 3 | 0 | 0 | 0 | 0 | 2