## Sections 1-8
NO. | SECTION 1, DIRECT LABOR & FIELD OPERATIONS | UNIT OF MEASURE | ESTIMATED | X UNIT RATE | = TOTAL
1-1* | CAR Contract Manager | Hourly | 150
1-2* | CAR Project Manager | Hourly | 1200
1-3 | CAR Senior Engineer P.E. or Geologist P.G. | Hourly | 350
1-4 | CAR Certified Industrial Hygienist | Hourly | 200
1-5 | CAR Project - Engineer P.E. or Geologist P.G. | Hourly | 350
1-6* | CAR Senior - Geologist / Scientist | Hourly | 6240
1-7* | CAR Project - Geologist / Scientist | Hourly | 6240
1-8* | CAR Staff - Geologist / Scientist | Hourly | 6240
1-9 | CAR CAD / GIS Drafting Technician | Hourly | 1560
1-10 | CAR Administrative / Clerical | Hourly | 1560
1-11 | CAR Field Superintendent | Hourly | 500
1-12 | CAR Field Senior Technician | Hourly | 1000
1-13 | CAR Field Technician | Hourly | 1000
1-14 | CAR Laborer II | Hourly | 1000
1-15 | CAR Laborer I | Hourly | 1000
|  | SECTION 1, SUBTOTAL |  |  | 0
NO. | SECTION 2, EQUIPMENT - VEHICLES | UNIT OF MEASURE | ESTIMATED | X UNIT RATE | UNIT OF MEASURE | ESTIMATED | X UNIT RATE | UNIT OF MEASURE | ESTIMATED | X UNIT RATE | = TOTAL
2-1 | Box Truck - Two ton | Daily | 25 |  | Weekly | 6 |  | Monthly | 5
2-2 | Pickup Truck/Van (Mid-Size) | Daily | 700 |  | Weekly | 24 |  | Monthly | 5
2-3 | Up to One-ton Truck | Daily | 600 |  | Weekly | 30 |  | Monthly | 5
2-4 | ≥ One Ton to Two-ton Truck | Daily | 400 |  | Weekly | 20 |  | Monthly | 5
[8 empty] | SECTION 2, SUBTOTAL |  |  | 0
NO. | SECTION 3, SAMPLING AND TREATMENT EQUIPMENT | UNIT OF MEASURE | ESTIMATED | X UNIT RATE | UNIT OF MEASURE | ESTIMATED | X UNIT RATE | UNIT OF MEASURE | ESTIMATED | X UNIT RATE | = TOTAL
3-1 | Air Monitoring Pump (Personal) | Daily | 150 |  | Weekly | 15 |  | Monthly | 13
3-2 | Multi-parameter Air Monitor (4 Gas) | Daily | 80 |  | Weekly | 40 |  | Monthly | 20
3-3 | Multi-parameter Water Quality Meter (displays pH, DO, conductivity, ORP, and temperature) | Daily | 100 |  | Weekly | 50 |  | Monthly | 25
3-4 | Data Logger | Daily | 20 |  | Weekly | 10 |  | Monthly | 5
3-5 | Dredge Sampling Device (Ponar) | Daily | 20 |  | Weekly | 10 |  | Monthly | 5
3-6 | Handheld GPS Unit | Daily | 100 |  | Weekly | 50 |  | Monthly | 25
3-7 | High Volume Air Sampling Pump | Daily | 20 |  | Weekly | 10 |  | Monthly | 5
3-8 | Metal Detector | Daily | 50 |  | Weekly | 20 |  | Monthly | 10
3-9 | Ground Penetraring Radar (GPR) | Daily | 40 |  | Weekly | 10 |  | Monthly | 2
3-10 | Organic Vapor Analyzer (OVA) / Flame Ionization Detector (FID) | Daily | 250 |  | Weekly | 125 |  | Monthly | 63
3-11 | Peristaltic Pump w/hoses and tubing | Daily | 80 |  | Weekly | 40 |  | Monthly | 20
3-12 | Water Level Probe (can measure product) | Daily | 80 |  | Weekly | 40 |  | Monthly | 20
3-13 | Turbidity Meter | Daily | 80 |  | Weekly | 40 |  | Monthly | 20
3-14 | Portable Photo Ionization Detector (PID) | Daily | 80 |  | Weekly | 40 |  | Monthly | 20
3-15 | Particle Counter Dust Measuring Device (PM 0.3, 0.5, 1.0, 2.5, 5.0 and 10) | Daily | 20 |  | Weekly | 10 |  | Monthly | 5
[8 empty] | SECTION 3, SUBTOTAL |  |  | 0
NO. | SECTION 4, DRILLING | UNIT OF MEASURE | ESTIMATED | X UNIT RATE | = TOTAL
4-1 | Permanent PVC 2" Monitoring Well | per foot | 1500
4-2 | Permanent PVC 4" Monitoring Well | per foot | 500
4-3 | Abandonment of Permanent PVC 2" Monitoring Well | per foot | 1000
4-4 | Abandonment of Permanent PVC 4" Monitoring Well | per foot | 1000
4-5 | Temporary PVC 2" Monitoring Well (including abandonment) | per foot | 2500
4-6 | Flush Mount Manhole Cover for 2" and 4" Monitoring Well (installed) | per well | 250
4-7 | Soil Boring | per foot | 2500
4-8 | Drill Rig Mobilization/Demobilization (one rate to include both Mobilization and Demobilization) | per day | 150
4-9 | Direct Push Technology | half day | 25
4-10 | Direct Push Technology | full day | 150
4-11 | Direct Push Technology | full week | 20
4-12 | Pre-pack Monitoring Well Screen 1" x 5' | Each | 500
4-13 | PVC Monitoring Well Riser 1" x 5' | Each | 300
4-14 | Monitoring Well Installation Permit - First Well | Each | 50
4-15 | Monitoring Well Installation Permit - Each Additional Well | Each | 200
4-16 | Monitoring Well Abandonment Permit - First Well | Each | 50
4-17 | Monitoring Well Abandonment Permit - Each Additional Well | Each | 200
|  | SECTION 4, SUBTOTAL |  |  | 0
NO. | SECTION 5, ON-SITE RECOVERY AND TREATMENT EQUIPMENT | UNIT OF MEASURE | ESTIMATED | X UNIT RATE | UNIT OF MEASURE | ESTIMATED | X UNIT RATE | UNIT OF MEASURE | ESTIMATED | X UNIT RATE | = TOTAL
5-1 | Carbon Cell 4000 lb | Daily | 16 |  | Weekly | 4 |  | Monthly | 2
5-2 | Carbon Cell 6000 lb | Daily | 16 |  | Weekly | 4 |  | Monthly | 2
5-3 | Sediment tank/box | Daily | 12 |  | Weekly | 3 |  | Monthly | 1
5-4 | Roll-off Box 20 yd | Daily | 16 |  | Weekly | 4 |  | Monthly | 2
5-5 | Roll-off Box 25 yd | Daily | 12 |  | Weekly | 3 |  | Monthly | 1
5-6 | Roll-off Box 30 yd | Daily | 12 |  | Weekly | 3 |  | Monthly | 1
5-7 | Dewatering Box | Daily | 12 |  | Weekly | 3 |  | Monthly | 1
5-8 | Vacuum Box 25 yd | Daily | 12 |  | Weekly | 3 |  | Monthly | 1
5-9 | 2000 Gal SS Tank | Daily | 12 |  | Weekly | 3 |  | Monthly | 1
5-10 | Mobile Frac Tank Open Top 18k | Daily | 16 |  | Weekly | 4 |  | Monthly | 2
5-11 | Mobile Frac Tank Open Top 21k | Daily | 12 |  | Weekly | 3 |  | Monthly | 1
5-12 | Mobile Frac Tank Closed Top 21k | Daily | 12 |  | Weekly | 3 |  | Monthly | 1
5-13 | Liquid Phase Carbon Vessel <100 GPM | Daily | 12 |  | Weekly | 3 |  | Monthly | 1
5-14 | Liquid Phase Carbon Vessel 100 to <300 GPM | Daily | 12 |  | Weekly | 3 |  | Monthly | 1
5-15 | Liquid Phase Carbon Vessel 300 to <600 GPM | Daily | 12 |  | Weekly | 3 |  | Monthly | 1
5-16 | Portable Air Stripping Tower <100 GPM | Daily | 16 |  | Weekly | 4 |  | Monthly | 2
5-17 | Portable Air Stripping Tower 100 to <300 GPM | Daily | 12 |  | Weekly | 3 |  | Monthly | 1
5-18 | Portable Air Stripping Tower 300 to <600 GPM | Daily | 12 |  | Weekly | 3 |  | Monthly | 1
5-19 | Jet Pump (4") | Daily | 80 |  | Weekly | 20 |  | Monthly | 5
5-20 | Jet Pump (6") | Daily | 12 |  | Weekly | 3 |  | Monthly | 1
5-21 | Pool, 10,000 gallon w/ liner | Daily | 5 |  | Weekly | 5 |  | Monthly | 1
5-22 | Pool, 20,000 gallon w/liner | Daily | 5 |  | Weekly | 5 |  | Monthly | 1
5-23 | Pump Scavenger < 1 hp | Daily | 20 |  | Weekly | 5 |  | Monthly | 3
5-24 | Pump Submersible 2" < 200 GPM | Daily | 20 |  | Weekly | 5 |  | Monthly | 3
5-25 | Pump Submersible 3" Max 400 GPM | Daily | 20 |  | Weekly | 5 |  | Monthly | 3
5-26 | Pump Submersible 4" Max 800 GPM | Daily | 20 |  | Weekly | 5 |  | Monthly | 3
5-27 | Pump Diaphragm 2" < 200 GPM | Daily | 20 |  | Weekly | 5 |  | Monthly | 3
5-28 | Pump Diaphragm 3" Max 260 GPM | Daily | 20 |  | Weekly | 5 |  | Monthly | 3
5-29 | Pump Diaphragm 3" SS < 200 GPM | Daily | 20 |  | Weekly | 5 |  | Monthly | 3
5-30 | Pump Centrifugal Small 1" < 100 GPM | Daily | 20 |  | Weekly | 5 |  | Monthly | 3
5-31 | Pump Centrifugal Small 2" < 200 GPM | Daily | 20 |  | Weekly | 5 |  | Monthly | 3
5-32 | Pump Centrifugal Mid 3" 200 to <320 GPM | Daily | 80 |  | Weekly | 20 |  | Monthly | 6
5-33 | Pump Centrifugal Small 4" Max 500 GPM | Daily | 60 |  | Weekly | 15 |  | Monthly | 5
5-34 | Pump Centrifugal Large 4" Max 1500 GPM | Daily | 20 |  | Weekly | 5 |  | Monthly | 3
5-35 | Pump Trash Small 2" Max 185 GPM | Daily | 20 |  | Weekly | 5 |  | Monthly | 3
5-36 | Pump Trash Small 3" Max 320 GPM | Daily | 20 |  | Weekly | 5 |  | Monthly | 3
5-37 | Pump Sludge | Daily | 20 |  | Weekly | 5 |  | Monthly | 3
5-38 | Lay Flat Discharge Hose 4" x 50' | Daily | 100 |  | Weekly | 25 |  | Monthly | 8
5-39 | Suction Hose 4" x 20' | Daily | 100 |  | Weekly | 25 |  | Monthly | 8
[8 empty] | SECTION 5, SUBTOTAL |  |  | 0
NO. | SECTION 6, CONSTRUCTION / EXCAVATION AND HEAVY EQUIPMENT | UNIT OF MEASURE | ESTIMATED | X UNIT RATE | UNIT OF MEASURE | ESTIMATED | X UNIT RATE | UNIT OF MEASURE | ESTIMATED | X UNIT RATE | = TOTAL
6-1 | Backhoe, CAT 416 | Daily | 38 |  | Weekly | 19 |  | Monthly | 9
6-2 | Backhoe, CAT 426 | Daily | 38 |  | Weekly | 19 |  | Monthly | 9
6-3 | Excavator Mini (0 - 6 metric tons; or <13k lbs) | Daily | 38 |  | Weekly | 19 |  | Monthly | 9
6-4 | Excavator Mid-Size (6 -10 metric tons; or 13k - 22k lbs) | Daily | 38 |  | Weekly | 19 |  | Monthly | 9
6-5 | Excavator Full-Size (10 - 90 metric tons; or 22k - 198k lbs) | Daily | 75 |  | Weekly | 38 |  | Monthly | 19
6-6 | Jack Hammer (0-90 lb) | Daily | 38 |  | Weekly | 19 |  | Monthly | 9
6-7 | Truck (dump, 15CY) | Daily | 75 |  | Weekly | 38 |  | Monthly | 19
6-8 | Truck (vacuum, 3000-gal) | Daily | 15 |  | Weekly | 7 |  | Monthly | 4
6-9 | Truck (water) | Daily | 15 |  | Weekly | 7 |  | Monthly | 4
6-10 | Street Sweeper | Daily | 75 |  | Weekly | 38 |  | Monthly | 19
6-11 | Skid-Steer Loader (50 hp; not to exceed 1750 lbs) | Daily | 75 |  | Weekly | 38 |  | Monthly | 19
6-12 | Skid-Steer Loader (50 - 70 hp; 1750 - 2200 lbs) | Daily | 75 |  | Weekly | 38 |  | Monthly | 19
6-13 | Skid-Steer Loader (70+ hp; more than 2200 lbs) | Daily | 75 |  | Weekly | 38 |  | Monthly | 19
6-14 | Loader (Rubber Tire) Small (< 2 cu; 60 - 70 hp; 11k to 13k lbs) | Daily | 38 |  | Weekly | 19 |  | Monthly | 9
6-15 | Loader (Rubber Tire) Mid-Size (2 - 7 cu; 98 - 250 hp; 51 to 68k lbs) | Daily | 75 |  | Weekly | 38 |  | Monthly | 19
6-16 | Loader (Rubber Tire) Full-Size (> 7.75 cu; > 375 hp; > 68k lbs) | Daily | 38 |  | Weekly | 19 |  | Monthly | 9
6-17 | Vibry Roller, 80" wide | Daily | 38 |  | Weekly | 19 |  | Monthly | 9
6-18 | Trench Compactor/ tamper | Daily | 75 |  | Weekly | 38 |  | Monthly | 19
6-19 | All Terrain Forklift 2-5 ton | Daily | 75 |  | Weekly | 38 |  | Monthly | 19
6-20 | Scissor lift | Daily | 38 |  | Weekly | 19 |  | Monthly | 9
6-21 | Boom lift | Daily | 75 |  | Weekly | 38 |  | Monthly | 19
6-22 | Cherry Picker | Daily | 38 |  | Weekly | 19 |  | Monthly | 9
[8 empty] | SECTION 6, SUBTOTAL |  |  | 0
NO. | SECTION 7, MISCELLANEOUS - EQUIPMENT | UNIT OF MEASURE | ESTIMATED | X UNIT RATE | UNIT OF MEASURE | ESTIMATED | X UNIT RATE | UNIT OF MEASURE | ESTIMATED | X UNIT RATE | = TOTAL
7-1 | Barricades | Daily | 50 |  | Weekly | 15 |  | Monthly | 5
7-2 | Barricades, Type I, II | Daily | 50 |  | Weekly | 15 |  | Monthly | 5
7-3 | Barricades, Type III | Daily | 50 |  | Weekly | 10 |  | Monthly | 5
7-4 | Saws-All | Daily | 50 |  | Weekly | 10 |  | Monthly | 5
7-5 | Chain Saw (14" bar) | Daily | 50 |  | Weekly | 10 |  | Monthly | 5
7-6 | Concrete Saw (hand held) | Daily | 20 |  | Weekly | 2 |  | Monthly | 1
7-7 | Concrete Saw (walk behind) | Daily | 20 |  | Weekly | 2 |  | Monthly | 1
7-8 | Cut-off Saw, Hand Held | Daily | 60 |  | Weekly | 6 |  | Monthly | 3
7-9 | Cut-off Saw, Walk Behind | Daily | 60 |  | Weekly | 6 |  | Monthly | 3
7-10 | Directional Arrow Board | Daily | 20 |  | Weekly | 2 |  | Monthly | 1
7-11 | Generator up to 5KW | Daily | 150 |  | Weekly | 15 |  | Monthly | 7
7-12 | Generator ≥ 5KW to 10KW | Daily | 75 |  | Weekly | 8 |  | Monthly | 4
7-13 | Generator ≥ 10KW to 50KW | Daily | 50 |  | Weekly | 5 |  | Monthly | 3
7-14 | Air Compressor, 185 CFM | Daily | 25 |  | Weekly | 3 |  | Monthly | 2
7-15 | Trailer (cargo 16') | Daily | 10 |  | Weekly | 1 |  | Monthly | 1
7-16 | Trailer, Tank ( 500 gallon ) | Daily | 10 |  | Weekly | 1 |  | Monthly | 1
7-17 | Hepa Vacuum | Daily | 10 |  | Weekly | 1 |  | Monthly | 1
7-18 | Traffic Cones | Daily | 3000 |  | Weekly | 300 |  | Monthly | 30
7-19 | Traffic Warning Signs | Daily | 300 |  | Weekly | 30 |  | Monthly | 10
7-20 | Motorized Product Transfer Pump | Daily | 10 |  | Weekly | 1 |  | Monthly | 1
7-21 | Flow Meter | Daily | 10 |  | Weekly | 1 |  | Monthly | 1
7-22 | Emergency Lighting | Daily | 10 |  | Weekly | 1 |  | Monthly | 1
7-23 | Jon Boat, 12 ft to 20 ft | Daily | 150 |  | Weekly | 15 |  | Monthly | 1
7-24 | Concrete Coring Machine | Daily | 150 |  | Weekly | 15 |  | Monthly | 1
7-25 | Survey Instrument Set | Daily | 150 |  | Weekly | 15 |  | Monthly | 1
7-26 | Drum Dolly | Daily | 50 |  | Weekly | 5 |  | Monthly | 5
[8 empty] | SECTION 7, SUBTOTAL |  |  | 0
NO. | SECTION 8, EXPENDABLES | UNIT OF MEASURE | ESTIMATED | X UNIT RATE | = TOTAL
8-1 | Absorbent Boom (4"), Linear ft | linear foot | 100
8-2 | Blades, Cut-off Saw, each | each | 50
8-3 | Disposable Bailer (3 ft), each | each | 1
8-4 | Drum, Steel (closed top), each | each | 10
8-5 | Drum, Steel (open top), each | each | 50
8-6 | Drum, Overpack (poly), each | each | 1
8-7 | Drum, Overpack (steel), each | each | 3
8-8 | Drum, Poly (55 gal), each | each | 1
8-9 | Drum 17H, each | each | 50
8-10 | Drum 17E , each | each | 50
8-11 | Drum 17C, PCB , each | each | 1
8-12 | Drum Tighthead (1A1/Y) , each | each | 1
8-13 | Drum Openhead (1A2/Y) , each | each | 50
8-14 | Dry Ice per pound | pound | 75
8-15 | Hepa Vac Hepa Filter, each | each | 20
8-16 | Marking Paint, each | each | 30
8-17 | Oil Dry per bag | bag | 50
8-18 | Portland Cement per bag | bag | 50
8-19 | Reddy-Mix Concrete per bag | bag | 50
8-20 | Absorbent Roll 30 " - (per ft) | foot | 100
8-21 | Absorbent Pads (100) per bundle | bundle | 10
8-22 | Absorbent Booms (3" X 20' X 4), each | each | 10
8-23 | Absorbent Booms (5" X 20' X 2), each | each | 5
8-24 | Absorbent Socks (3" X 10' X 6), each | each | 10
8-25 | Visquine (roll) 10' x 100' 6 mil, each | each | 5
8-26 | Visquine (roll) 20' x 100' 6 mil, each | each | 10
8-27 | Visquine (roll) 20' x 100' 10 mil, each | each | 5
8-28 | Disposable water filter (metals, particulate etc) | each | 500
|  | SECTION 8, SUBTOTAL |  |  | 0

## Sections 9-11
Section 9, ANALYTICAL |  |  | Solid Matrix |  | Solid Matrix |  | Liquid Matrix |  | Liquid Matrix
No. | Parameter Group | Unit of Measure | ESTIMATED | X Standard Unit Rate | ESTIMATED | X Rush Unit Rate | ESTIMATED | X Standard Unit Rate | ESTIMATED | X Rush Unit Rate | = TOTAL
9-1 | GC/MS-Library Search (up to 20 unknowns) Per Sample | Each | 10 |  | 5 |  | 10 |  | 5
9-2 | EPA Method 8021 or 8260 - for Priority Pollutant VOH | Each | 10 |  | 5 |  | 10 |  | 5
9-3 | EPA Method 8021 or 8260 -Volatile Aromatics (BTEX & MTBE) | Each | 500 |  | 250 |  | 500 |  | 250
9-4 | EPA Method 8081 - Chlorinated Pesticides | Each | 500 |  | 250 |  | 500 |  | 250
9-5 | EPA Method 8151 - Chlorinated Herbicides | Each | 500 |  | 250 |  | 500 |  | 250
9-6 | EPA Method 8082 - Polychlorinated Biphenyls (PCBs) | Each | 10 |  | 5 |  | 10 |  | 5
9-7 | EPA Method 610, 8100, 8270 or 8310 - Polyaromatic Hydrocarbons | Each | 500 |  | 250 |  | 500 |  | 250
9-8 | EPA Method 504, 8260 or 8011 - for ethylene dibromide (EDB) | Each | 10 |  | 5 |  | 10 |  | 5
9-9 | EPA Method 8260 - Volatile Organics by GC/MS | Each | 500 |  | 250 |  | 500 |  | 250
9-10 | EPA Method 8270 - Semivolatile Organics by GC/MS | Each | 500 |  | 250 |  | 500 |  | 250
9-11 | EPA Method 624/8260 Priority Pollutant List, 40 CFR 423, Appendix A | Each | 10 |  | 5 |  | 10 |  | 5
9-12 | EPA Method 625/8270 Priority Pollutant List, 40 CFR 423, Appendix A | Each | 10 |  | 5 |  | 10 |  | 5
9-13 | TRPH by FL-PRO | Each | 500 |  | 250 |  | 500 |  | 250
9-14 | TCLP Extraction (per sample) - EPA Methods 1311 | Each | 500 |  | 250 |  | 500 |  | 250
9-15 | SPLP Extraction (per sample) - EPA Methods 1312 | Each | 500 |  | 250 |  | 500 |  | 250
9-16 | SPLP 8 RCRA Metals | Each | 500 |  | 250 |  | 500 |  | 250
9-17 | 8 RCRA Metals | Each | 500 |  | 250 |  | 500 |  | 250
9-18 | TCLP 8 RCRA Metals | Each | 500 |  | 250 |  | 500 |  | 250
9-19 | Priority Pollutant Metals- 13 Metals | Each | 10 |  | 5 |  | 10 |  | 5
9-20 | TCLP Volatiles - 8260 | Each | 10 |  | 5 |  | 10 |  | 5
9-21 | TCLP Semi-Volatiles - EPA Methods 8270 | Each | 10 |  | 5 |  | 10 |  | 5
9-22 | TCLP Pesticides - EPA Methods 8081 | Each | 500 |  | 250 |  | 500 |  | 250
9-23 | TCLP Herbicides - EPA Methods 8151 | Each | 500 |  | 250 |  | 500 |  | 250
9-24 | 62-780 FAC Table B Compunds (Petroleum or Petro Products) | Each | 100 |  | 50 |  | 100 |  | 50
9-25 | 62-780 FAC Table B Compunds (Drycleaning Solvent) | Each | 100 |  | 50 |  | 100 |  | 50
9-26 | 62-780 FAC Table C Compounds (GAG/KAG) | Each | 100 |  | 50 |  | 100 |  | 50
9-27 | 62-780 FAC Table D Compounds (Used Oil only) | Each | 100 |  | 50 |  | 100 |  | 50
9-28 | 62-780 FAC Table E Compounds (Other Petroleum) | Each | 100 |  | 50 |  | 100 |  | 50
0
Section 10, ANALYTICAL (METALS) |  |  | Solid Matrix |  | Solid Matrix |  | Liquid Matrix |  | Liquid Matrix
No. | Parameter Group | Unit of Measure | ESTIMATED | X Standard Unit Rate | ESTIMATED | X Rush Unit Rate | ESTIMATED | X Standard Unit Rate | ESTIMATED | X Rush Unit Rate | = TOTAL
10-1 | Aluminum | Each | 30 |  | 15 |  | 30 |  | 15
10-2 | Antimony | Each | 10 |  | 5 |  | 10 |  | 5
10-3 | Arsenic | Each | 500 |  | 250 |  | 500 |  | 250
10-4 | Barium | Each | 500 |  | 250 |  | 500 |  | 250
10-5 | Beryllium | Each | 10 |  | 5 |  | 10 |  | 5
10-6 | Boron | Each | 10 |  | 5 |  | 10 |  | 5
10-7 | Cadmium | Each | 500 |  | 250 |  | 500 |  | 250
10-8 | Calcium | Each | 10 |  | 5 |  | 10 |  | 5
10-9 | Chromium | Each | 500 |  | 250 |  | 500 |  | 250
10-10 | Chromium (Hexavalent) | Each | 100 |  | 50 |  | 100 |  | 50
10-11 | Cobalt | Each | 10 |  | 5 |  | 10 |  | 5
10-12 | Copper | Each | 30 |  | 15 |  | 30 |  | 15
10-13 | Iron | Each | 20 |  | 10 |  | 20 |  | 10
10-14 | Lead | Each | 500 |  | 250 |  | 500 |  | 250
10-15 | Magnesium | Each | 100 |  | 50 |  | 100 |  | 50
10-16 | Manganese | Each | 10 |  | 5 |  | 10 |  | 5
10-17 | Mercury | Each | 500 |  | 250 |  | 500 |  | 250
10-18 | Molybdenum | Each | 10 |  | 5 |  | 10 |  | 5
10-19 | Nickel | Each | 10 |  | 5 |  | 10 |  | 5
10-20 | Potassium | Each | 10 |  | 5 |  | 10 |  | 5
10-21 | Selenium | Each | 500 |  | 250 |  | 500 |  | 250
10-22 | Silver | Each | 500 |  | 250 |  | 500 |  | 250
10-23 | Sodium | Each | 10 |  | 5 |  | 10 |  | 5
10-24 | Thallium | Each | 10 |  | 5 |  | 10 |  | 5
10-25 | Tin | Each | 10 |  | 5 |  | 10 |  | 5
10-26 | Vanadium | Each | 10 |  | 5 |  | 10 |  | 5
10-27 | Zinc | Each | 100 |  | 50 |  | 100 |  | 50
0
Section 11, ANALYTICAL (OTHER) |  |  | Solid Matrix |  | Solid Matrix |  | Liquid Matrix |  | Liquid Matrix
No. | Parameter Group | Unit of Measure | ESTIMATED QUANTITIES | X Standard Unit Rate | ESTIMATED QUANTITIES | X Rush Unit Rate | ESTIMATED QUANTITIES | X Standard Unit Rate | ESTIMATED QUANTITIES | X Rush Unit Rate | = TOTAL
11-1 | Total Solids | Each | 20 |  | 10 |  | 20 |  | 10
11-2 | Total Dissolved Solids | Each | 20 |  | 10 |  | 20 |  | 10
11-3 | Total Suspended Solids | Each | 10 |  | 5 |  | 10 |  | 5
11-4 | pH | Each | 10 |  | 5 |  | 10 |  | 5
11-5 | Total Organic Carbon | Each | 20 |  | 10 |  | 20 |  | 10
11-6 | Phenols (Total Colormetric) | Each | 10 |  | 5 |  | 10 |  | 5
11-7 | Ash Content | Each | 10 |  | 5 |  | 10 |  | 5
11-8 | EPA Method TO-18 (air) | Each | 20 |  | 10 |  | 20 |  | 10
0

## Sections 12-13
No. | Section 12, TRANSPORTATION & DISPOSAL (T&D) | Unit of Measure | ESTIMATED QUANTITIES | X UNIT RATE | = TOTAL
12-1 | T&D - Contaminated Material Non-Liquid/Non-Hazardous | Drum | 25
12-2 | T&D - Contaminated Material Non-Liquid/Non-Hazardous | Ton | 1100
12-3 | T&D - Contaminated Liquid/Non-Hazardous | Drum | 20
12-4 | T&D - Contaminated Liquid /Non-Hazardous | Gallon | 8000
12-5 | T&D - Non-Petroleum/Non-Hazardous Solid Waste containing material to a Class I Landfill | Ton | 1100
|  | SECTION 12, SUBTOTAL |  |  | 0
No. | Section 13, BRIDGE TESTING | Unit of Measure | ESTIMATED QUANTITIES | X UNIT RATE | = TOTAL
Small Bridges less than 50Ft
13-1 | Concrete Bridge Asbestos Testing (1-4 & 6) | linear Foot | 49
13-2 | Steel Bridge (Asbestos & Heavy Metals) w/1-6 | linear Foot | 49
13-3 | Steel Bridge (Heavy Metals) w/ 1-5 | linear Foot | 49
Medium Bridges >50Ft up to <= 200ft
13-4 | Concrete Bridge Asbestos Testing (1-4 & 6) | linear Foot | 200
13-5 | Steel Bridge (Asbestos & Heavy Metals) w/1-6 | linear Foot | 200
13-6 | Steel Bridge (Heavy Metals) w/ 1-5 | linear Foot | 200
Medium Bridges >200Ft up to <= 500ft
13-7 | Concrete Bridge Asbestos Testing (1-4 & 6) | linear Foot | 500
13-8 | Steel Bridge (Asbestos & Heavy Metals) w/1-6 | linear Foot | 500
13-9 | Steel Bridge (Heavy Metals) w/ 1-5 | linear Foot | 500
Large Bridges > 500Ft to <= 1000ft
13-10 | Concrete Bridge Asbestos Testing (1-4 & 6) | linear Foot | 1000
13-11 | Steel Bridge (Asbestos & Heavy Metals) w/1-6 | linear Foot | 1000
13-12 | Steel Bridge (Heavy Metals) w/ 1-5 | linear Foot | 1000
XLarge Bridges > 1000Ft to <= 2000ft
13-13 | Concrete Bridge Asbestos Testing (1-4 & 6) | linear Foot | 2000
13-14 | Steel Bridge (Asbestos & Heavy Metals) w/1-6 | linear Foot | 2000
13-15 | Steel Bridge (Heavy Metals) w/ 1-5 | linear Foot | 2000
XXLarge Bridges > 2000Ft
13-16 | Concrete Bridge Asbestos Testing (1-4 & 6) | linear Foot | 2900
13-17 | Steel Bridge (Asbestos & Heavy Metals) w/1-6 | linear Foot | 2900
13-18 | Steel Bridge (Heavy Metals) w/ 1-5 | linear Foot | 2900
|  | SECTION 13, SUBTOTAL |  |  | 0

## Summary
SECTION NO. | CATEGORY | SUBTOTAL OF EACH SECTION
SECTION 1 | DIRECT LABOR & FIELD OPERATIONS* | 0
SECTION 2 | EQUIPMENT - VEHICLES* | 0
SECTION 3 | SAMPLING AND TREATMENT EQUIPMENT* | 0
SECTION 4 | DRILLING* | 0
SECTION 5 | ON-SITE RECOVERY AND TREATMENT EQUIPMENT* | 0
SECTION 6 | CONSTRUCTION / EXCAVATION AND HEAVY EQUIPMENT* | 0
SECTION 7 | MISCELLANEOUS - EQUIPMENT* | 0
SECTION 8 | EXPENDABLES* | 0
SECTION 9 | ANALYTICAL* | 0
SECTION 10 | ANALYTICAL (METALS)* | 0
SECTION 11 | ANALYTICAL (OTHER)* | 0
SECTION 12 | TRANSPORTATION & DISPOSAL (T&D) | 0
SECTION 13 | BRIDGE TESTING | 0
| GRAND TOTAL - (Proposer's Price) | 0